## Explaination
Modbus Address Offset | Register Name | Expected Data (Hex) | Expected Data (Dec) | Read Data (Dec) | Compare Data | Expected Config (Hex) | Expected Config (Dec) | uibMeasUnit | Read Config (Dec) | Compare Config | Modbus Discrete Adress Offset | Bit Name | Expected Relay Alarm Bits | Read Relay Alarm Bits | Compare Relay Alarm Bits
0 | COND1 | 0x000002B4 | 692.776 |  |  | 0x38012221 | 939598369 | 1 |  |  | 0 | Relay 1 State | 0
2 | COND1 Temperature | 0x00000016 | 22.8943 |  |  | 0x38012221 | 939598369 | 7 |  |  | 1 | Relay 2 State | 0
4 | COND2 | 0x00000237 | 567.2802 |  |  | 0x38012223 | 939598371 | 1 |  |  | 2 | Relay 3 State | 0
6 | COND2 Temperature | 0x00000018 | 24.7498 |  |  | 0x38012223 | 939598371 | 7 |  |  | 3 | Alarm 1 State | 0
8 | ORP | 0x00000007 | 7.0356 |  |  | 0x38000C15 | 939527189 | 0 |  |  | 4 | Alarm 2 State | 0
10 | ORP Temperature | 0x0000003F | 63.5739 |  |  | 0x38000C15 | 939527189 | 7 |  |  | 5 | Flow Switch | 1
12 | BNC | 0x00000BB8 | 3000.1326 |  |  | 0x00050A17 | 330263 | 5 |  |  | 6 | spare
14 | RTD | 0x0000002E | 46.2585 |  |  | 0x38071608 | 939988488 | 7 |  |  | 7 | spare
16 | Flow | 0x00000078 | 120.0345 |  |  | 0xA810180A | 2819627018 | 16
18 | Volume | 0x00000016 | 22.2984 |  |  | 0xA810180A | 2819627018 | 21
20 | mA In | 0xFFFFFFF448 | -3000 |  |  | 0x000C1209 | 791049 | 12
22 | mA Out | 0x00000000 | 0 |  |  | 0x0005088D | 329869 | 3
24 | Volt Out | 0x00000000 | 0 |  |  | 0x00004223 | 16931 | 1
26 | Rejection Ratio | 0xFFFFFFF448 | -3000 |  |  | 0x0017020B | 1507851 | 23
28 | ORP2 | 0xFFFFFFF448 | -3000 |  |  | 0xDEADBEEF | 3735928559
Excel tab number indicates Device ID
Within each tab are the expected register information

## ID01
Modbus Address Offset | Register Name | Expected Data (Hex) | Expected Data (Dec) | Read Data (Dec) | Compare Data | Expected Config (Hex) | Expected Config (Dec) | Read Config (Dec) | Compare Config | Modbus Discrete Adress Offset | Bit Name | Expected Relay Alarm Bits | Read Relay Alarm Bits | Compare Relay Alarm Bits
0 | COND1 | 0x000002B4 | 692.776 |  |  | 0x38012221 | 939598369 |  |  | 0 | Relay 1 State | 0
2 | COND1 Temperature | 0x00000016 | 22.8943 |  |  | 0x38012221 | 939598369 |  |  | 1 | Relay 2 State | 0
4 | COND2 | 0x00000237 | 567.2802 |  |  | 0x38012223 | 939598371 |  |  | 2 | Relay 3 State | 0
6 | COND2 Temperature | 0x00000018 | 24.7498 |  |  | 0x38012223 | 939598371 |  |  | 3 | Alarm 1 State | 0
8 | ORP | 0x00000007 | 7.0356 |  |  | 0x38000C15 | 939527189 |  |  | 4 | Alarm 2 State | 0
10 | ORP Temperature | 0x0000003F | 63.5739 |  |  | 0x38000C15 | 939527189 |  |  | 5 | Flow Switch | 1
12 | BNC | 0x00000BB8 | 3000.1326 |  |  | 0x00050A17 | 330263 |  |  | 6 | spare
14 | RTD | 0x0000002E | 46.2585 |  |  | 0x38071608 | 939988488 |  |  | 7 | spare
16 | Flow | 0x00000078 | 120.0345 |  |  | 0xA810180A | 2819627018
18 | Volume | 0x00000016 | 22.2984 |  |  | 0xA810180A | 2819627018
20 | mA In | 0x0000000D | 13.8579 |  |  | 0x000C1209 | 791049
22 | mA Out | 0x0000000D | 13.8579 |  |  | 0x0005088D | 329869
24 | Volt Out | 0x00000006 | 6.929 |  |  | 0x00004223 | 16931
26 | Rejection Ratio | 0x00000012 | 18.1314 |  |  | 0x0017020B | 1507851
28 | ORP2 | 0xFFFFFFF448 | -3000 |  |  | 0xDEADBEEF | 3735928559

## ID02
Modbus Address Offset | Register Name | Expected Data (Hex) | Expected Data (Dec) | Read Data (Dec) | Compare Data | Expected Config (Hex) | Expected Config (Dec) | Read Config (Dec) | Compare Config | Modbus Discrete Adress Offset | Bit Name | Expected Relay Alarm Bits | Read Relay Alarm Bits | Compare Relay Alarm Bits
0 | COND1 | 0x000008A9 | 2217.1687 |  |  | 0x38012221 | 939598369 |  |  | 0 | Relay 1 State | 0
2 | COND1 Temperature | 0x00000000 | 0.15916 |  |  | 0x38012221 | 939598369 |  |  | 1 | Relay 2 State | 0
4 | COND2 | 0x00000071 | 113.8015 |  |  | 0x38012223 | 939598371 |  |  | 2 | Relay 3 State | 0
6 | COND2 Temperature | 0x000000CA | 202.28 |  |  | 0x38012223 | 939598371 |  |  | 3 | Alarm 1 State | 0
8 | ORP | 0xFFFFFFF448 | -3000 |  |  | 0x38000C15 | 939527189 |  |  | 4 | Alarm 2 State | 0
10 | ORP Temperature | 0xFFFFFFFFFF | -1 |  |  | 0x38000C15 | 939527189 |  |  | 5 | Flow Switch | 1
12 | BNC | 0x00000000 | 0.45846 |  |  | 0x00050A17 | 330263 |  |  | 6 | spare
14 | RTD | 0x0000007A | 122.6512 |  |  | 0x38071608 | 939988488 |  |  | 7 | spare
16 | Flow | 0x0000001E | 30.0147 |  |  | 0xA810180A | 2819627018
18 | Volume | 0x00000049 | 73.9986 |  |  | 0xA810180A | 2819627018
20 | mA In | 0x00000000 | 0.0061469 |  |  | 0x000C1209 | 791049
22 | mA Out | 0x00000011 | 17.7374 |  |  | 0x0005088D | 329869
24 | Volt Out | 0x00000008 | 8.8687 |  |  | 0x00004223 | 16931
26 | Rejection Ratio | 0x0000005E | 94.8673 |  |  | 0x0017020B | 1507851
28 | ORP2 | 0xFFFFFFF448 | -3000 |  |  | 0xDEADBEEF | 3735928559

## ID03
Modbus Address Offset | Register Name | Expected Data (Hex) | Expected Data (Dec) | Read Data (Dec) | Compare Data | Expected Config (Hex) | Expected Config (Dec) | Read Config (Dec) | Compare Config | Modbus Discrete Adress Offset | Bit Name | Expected Relay Alarm Bits | Read Relay Alarm Bits | Compare Relay Alarm Bits
0 | COND1 | 0x0000037E | 894.7634 |  |  | 0x38012221 | 939598369 |  |  | 0 | Relay 1 State | 0
2 | COND1 Temperature | 0x00000014 | 20.9156 |  |  | 0x38012221 | 939598369 |  |  | 1 | Relay 2 State | 0
4 | COND2 | 0x000000E6 | 230.0187 |  |  | 0x38012223 | 939598371 |  |  | 2 | Relay 3 State | 0
6 | COND2 Temperature | 0x0000007B | 123.5724 |  |  | 0x38012223 | 939598371 |  |  | 3 | Alarm 1 State | 0
8 | ORP | 0xFFFFFFF448 | -3000 |  |  | 0x38000C15 | 939527189 |  |  | 4 | Alarm 2 State | 0
10 | ORP Temperature | 0xFFFFFFFFFF | -1 |  |  | 0x38000C15 | 939527189 |  |  | 5 | Flow Switch | 1
12 | BNC | 0x00000BB3 | 2995.2883 |  |  | 0x00050A17 | 330263 |  |  | 6 | spare
14 | RTD | 0x0000007B | 123.1741 |  |  | 0x38071608 | 939988488 |  |  | 7 | spare
16 | Flow | 0x0000003C | 60.0325 |  |  | 0xA810180A | 2819627018
18 | Volume | 0x00000091 | 145.8951 |  |  | 0xA810180A | 2819627018
20 | mA In | 0x00000000 | 0.0041969 |  |  | 0x000C1209 | 791049
22 | mA Out | 0x00000011 | 17.8953 |  |  | 0x0005088D | 329869
24 | Volt Out | 0x00000008 | 8.9476 |  |  | 0x00004223 | 16931
26 | Rejection Ratio | 0x0000004A | 74.2931 |  |  | 0x0017020B | 1507851
28 | ORP2 | 0xFFFFFFF448 | -3000 |  |  | 0xDEADBEEF | 3735928559

## ID04
Modbus Address Offset | Register Name | Expected Data (Hex) | Expected Data (Dec) | Read Data (Dec) | Compare Data | Expected Config (Hex) | Expected Config (Dec) | Read Config (Dec) | Compare Config | Modbus Discrete Adress Offset | Bit Name | Expected Relay Alarm Bits | Read Relay Alarm Bits | Compare Relay Alarm Bits
0 | COND1 | 0x0000037E | 894.7634 |  |  | 0x38012221 | 939598369 |  |  | 0 | Relay 1 State | 0
2 | COND1 Temperature | 0x00000014 | 20.9156 |  |  | 0x38012221 | 939598369 |  |  | 1 | Relay 2 State | 0
4 | COND2 | 0x000000E6 | 230.0187 |  |  | 0x38012223 | 939598371 |  |  | 2 | Relay 3 State | 0
6 | COND2 Temperature | 0x0000007B | 123.5724 |  |  | 0x38012223 | 939598371 |  |  | 3 | Alarm 1 State | 0
8 | ORP | 0xFFFFFFF448 | -3000 |  |  | 0x38000C15 | 939527189 |  |  | 4 | Alarm 2 State | 0
10 | ORP Temperature | 0xFFFFFFFFFF | -1 |  |  | 0x38000C15 | 939527189 |  |  | 5 | Flow Switch | 1
12 | BNC | 0x00000BB3 | 2995.2883 |  |  | 0x00050A17 | 330263 |  |  | 6 | spare
14 | RTD | 0x0000007B | 123.1741 |  |  | 0x38071608 | 939988488 |  |  | 7 | spare
16 | Flow | 0x0000003C | 60.0325 |  |  | 0xA810180A | 2819627018
18 | Volume | 0x00000091 | 145.8951 |  |  | 0xA810180A | 2819627018
20 | mA In | 0x00000000 | 0.0041969 |  |  | 0x000C1209 | 791049
22 | mA Out | 0x00000011 | 17.8953 |  |  | 0x0005088D | 329869
24 | Volt Out | 0x00000008 | 8.9476 |  |  | 0x00004223 | 16931
26 | Rejection Ratio | 0x0000004A | 74.2931 |  |  | 0x0017020B | 1507851
28 | ORP2 | 0xFFFFFFF448 | -3000 |  |  | 0xDEADBEEF | 3735928559