## Explaination
Excel tab number indicates Device ID
Within each tab are the expected register information

## ID01
Modbus Address Offset | Register Name | Expected Data | Expected Config | Measurement Type | Read Data | Compare Data | Read Config | Compare Config
0 | COND1 | 100 | 1000
2 | COND1 Temperature | 102 | 1002
4 | COND2 | 104 | 1004
6 | COND2 Temperature | 106 | 1006
8 | ORP | 108 | 1008
10 | ORP Temperature | 110 | 1010
12 | BNC | 112 | 1012
14 | RTD | 114 | 1014
16 | Flow | 116 | 1016
18 | Volume | 118 | 1018
20 | mA In | 120 | 1020
22 | mA Out | 122 | 1022
24 | Volt Out | 124 | 1024
26 | Rejection Ratio | 126 | 1026
28 | ORP2 | 128 | 1028

## ID02
Modbus Address Offset | Register Name | Expected Data | Expected Config
0 | COND1 | 200 | 2000
2 | COND1 Temperature | 202 | 2002
4 | COND2 | 204 | 2004
6 | COND2 Temperature | 206 | 2006
8 | ORP | 208 | 2008
10 | ORP Temperature | 210 | 2010
12 | BNC | 212 | 2012
14 | RTD | 214 | 2014
16 | Flow | 216 | 2016
18 | Volume | 218 | 2018
20 | mA In | 220 | 2020
22 | mA Out | 222 | 2022
24 | Volt Out | 224 | 2024
26 | Rejection Ratio | 226 | 2026
28 | ORP2 | 228 | 2028